## Tabelle2
Measurement System Analysis Type 2 Anova (AIAG 4th, Bosch)
Gage/Gauge |  |  | Feature |  |  |  | Reference Standard
Design.: |  |  | Objective: |  |  |  | Desingn.:
Number: |  |  | Number: |  |  |  | Number:
Resolution: |  |  | Drawingnr.: |  |  |  | Nom. size:
Approver: |  |  | Unit: |  |  |  | Unit:
Act. date: |  |  | USL: | 4
Approver: |  |  | lSL: | -4 | Tolerance: | 8
Test procedure description: Alle blue cells can be changed, all grey cells are calculated
Result MSA 1 |  |  | Number of parts n |  |  | 10 | Measurement system is
|  |  | Number of approv. k |  |  | 3 | capable to |  | 10%
Protocol nr. |  |  | Number of test per appr./object r |  |  | 3 | acceptable to |  | 30%
The Gage/Gauge is |  |  | Condition n*k*r >= 30 |  |  | fullfilled | not acceptable at |  | 30% |  | fullfilled | not fullfilled
| Appraiser j=1 | Smith |  | Appraiser j=2 | Watson |  | Appraiser j=3 | Holmes
Part nr. | m=1 | m=2 | m=3 | m=1 | m=2 | m=3 | m=1 | m=2 | m=3
i=1 | 0.29 | 0.41 | 0.64 | 0.08 | 0.25 | 0.07 | 0.04 | -0.11 | -0.15
i=2 | -0.56 | -0.68 | -0.58 | -0.47 | -1.22 | -0.68 | -1.38 | -1.13 | -0.96
i=3 | 1.34 | 1.17 | 1.27 | 1.19 | 0.94 | 1.34 | 0.88 | 1.09 | 0.67
i=4 | 0.47 | 0.5 | 0.64 | 0.01 | 1.03 | 0.2 | 0.14 | 0.2 | 0.11
i=5 | -0.8 | -0.92 | -0.84 | -0.56 | -1.2 | -1.28 | -1.46 | -1.07 | -1.45
i=6 | 0.02 | -0.11 | -0.21 | -0.2 | 0.22 | 0.06 | -0.29 | -0.67 | -0.49
i=7 | 0.59 | 0.75 | 0.66 | 0.47 | 0.55 | 0.83 | 0.02 | 0.01 | 0.21
i=8 | -0.31 | -0.2 | -0.17 | -0.63 | 0.08 | -0.34 | -0.46 | -0.56 | -0.49
i=9 | 2.26 | 1.99 | 2.01 | 1.8 | 2.12 | 2.19 | 1.77 | 1.45 | 1.87
i=10 | -1.36 | -1.25 | -1.31 | -1.68 | -1.62 | -1.5 | -1.49 | -1.77 | -2.16
[5 empty] | Standard deviation | Study variation |  | Percentage of total variance | Percentage of tolerance
Influence variables: | m=2: SD; m=3: SV; m=2: %SV; m=3: %T
Parts (Part Variation): |  |  |  | PV | 1.0423 | 6.254 | %PV | 96.04% | 78.17%
Appraisers (Appraiser Variation) |  |  |  | AV | 0.22684 | 1.361 | %AV | 20.9% | 17.01%
Interaction: |  |  |  | INT | 0 | 0 | %IA | 0% | 0%
Equipment (Equipment Variation): |  |  |  | EV | 0.19993 | 1.1996 | %EV | 18.42% | 14.99%
GRR: |  |  |  | GRR | 0.30237 | 1.8142 | %GRR | 27.86% | 22.68%
Total (Total Variation): |  |  |  | TV | 1.0853 | 6.5118 | %TV | 100% | 81.4%
Number of distinct categories (min 5): | m=1: ndc; m=2: 4
Measuring system is conditionally capable | [10 empty] | Measuring system is capable | Measuring system is not capable | Measuring system is conditionally capable
Measuring system is not able to measure enough parts distinguishably (ndc) | [10 empty] | Measuring system is not able to measure enough parts distinguishably (ndc) | Measuring system is able to measure enough parts distinguishably (ndc)
Influence by the appraiser is significant | [9 empty] | 1 | Influence by the appraiser is not significant | Influence by the appraiser is significant
Influence of the parts is significant | [9 empty] | 1 | Influence of the parts is not significant | Influence of the parts is significant
Influence of the interaction between part and appraiser is significant | [9 empty] | 1 | Influence of the interaction between part and appraiser is not significant | Influence of the interaction between part and appraiser is significant
[6 empty] | Percentage of total variance | Percentage of tolerance
| 10% | 22.68% |  |  | %AV | 20.9% | 17.01%
| 20% |  |  |  | %IA | 0% | 0%
| 70% |  |  |  | %EV | 18.42% | 14.99%
[5 empty] | %GRR | 27.86% | 22.68%